## Version History (hidden)
Amendment Record
Version | Date | Author | Amendment Overview
1 | 2019-12-18 | Kaisui Tnay | Original
1.1 | 2020-02-07 | Lindsay Speyers | Addition of Sanction to Connect form: - Addition of Remote Monitoring Tests tab - Addition of Anti-Islanding Tests tab - Addition of Submission Documents tab - Update to Site Details tab - Small changes to formatting in the inverter details tab

## Site Details
Installation Site Details
UE Project Reference Number:
NMI:
Unit/House Number:
Street Address:
Suburb:
Postcode:
End Customer (Generator Owner)
Company Name:
Contact Person:
Position within Organisation:
Contact Number:
Email Address:
Site Operational Contact | Leave blank if same as above
Company Name:
Contact Person:
Position within Organisation:
Contact Number:
Email Address:
Installer Details
Company Name
Contact Name:
REC Number:
CEC Accreditation Number:
Installer Email:
Installer Mobile Number:
Capacity Details
Total DC Generation (kW):
Total AC Capacity (kVA):
Maximum Allowable Export (kW):
No. of Phases to Premise:
No. of Phases with DER Installed:
Islandable Installation? (Yes/No)
Is EG shared by more than one NMI? (Yes/No)
Central Protection Device | Installed settings MUST align with the embedded generation agreement | Installer Initials
Hard Export Limit (kW)
Hard Export Time Delay (s)
Underfrequency Prot Setting (Hz)
Underfrequency Prot Time Delay(s)
Overfrequency Prot Setting (Hz)
Overfrequency Prot Time Delay(s)
ROCOF Prot Setting (Hz/s)
ROCOF Prot Time Delay (s)
Vector Shift Prot Setting (deg.)
Vector Shift Prot Time Delay (s)
NVD Prot Setting (V)
NVD Prot Time Delay (s)
Undervoltage Prot Setting (V)
Undervoltage Prot Delay (s)
Overvoltage Prot Setting (V)
Overvoltage Prot Delay (s)
Note on A37: UE: Islanding of installation will need to be negotiated with UE and shall form part of the embededd generation agreement.
Note on A51: UE: Neutral Voltage Displacement

## Generator Details
No. of different generator models: | 1 | Please only fill in the blue coloured boxes
Generator Model Count | Model #1
Generator Model
Generator Manufacturer
Generator Quantity | 1
Generator Capacity (kVA)
Total Generator Capacity (kVA) | 0
Serial Numbers | Model #1
Generator #1
Note on A1: UE: For example, if the site has the following generators: 1 x Generator Model A 2 x Generator Model B 1 x Generator Model C The no. of different generator models is 3
Note on A6: UE: This is the number of generator per this specific model
Note on A7: UE: This is the capacity (max continuous rating) of that specific generator model
Note on A10: UE: Serial numbers will need to be entered for each inverter installed

## Gen Prot and Control
Generator Protection Function | Generator Protection Settings | Installer Initials | Please only fill in the blue coloured boxes
Undervoltage Prot Setting (V)
Undervoltage Prot Delay (s)
Overvoltage 1 Prot Setting (V)
Overvoltage 1 Prot Delay (s)
Overvoltage 2 Prot Setting (V)
Overvoltage 2 Prot Delay (s)
Underfrequency Prot Setting (Hz)
Underfrequency Prot Delay(s)
Overfrequency Prot Setting (Hz)
Overfrequency Prot Delay(s)
ROCOF Prot Setting (Hz/s)
ROCOF Prot Delay (s)
Vector Shift Prot Setting (deg.)
Vector Shift Prot Time Delay (s)
Generator Control Functions | Generator Control Settings | Installer Initials
Generator Ramp Rate (Enabled/Disabled?) | Disabled
Power Ramp Gradient (%)
Frequency Sensitive Mode (Enabled/Disabled?) | Disabled
Frequency Deadband (Hz)
Frequency Droop (%)
Generator Voltage/Reactive Power Regulation - Pick one from dropdown |  | Fixed Power Factor
Voltage Droop Control Settings | Generator Settings | Installer Initials
Fixed Power Factor Setting
Fixed Power Factor Quadrant
Voltage Droop Control Settings | Generator Settings | Installer Initials
Voltage Setpoint
Voltage Setpoint Unit (either % or V)
Deadband Setting (%)
Droop Setting (%)
Base for Droop (kVA)
Reactive Power Source Limit (kvar)
Reactive Power Sink Limit (kvar)
Installer Sign Off |  | Installer Initials
I, the installer, confirm that ALL generators on this site have been installed with the protection and control settings above

## Submission Checklist
Prescribed CES | Confirmed Attached to Email
This is a statutory requirement of Energy Safe Victoria (ESV). All electrical works defined by ESV as ‘Prescribed’ (which includes generator installations) must be issued a Prescribed Certificate of Electrical Safety (CES) by the Registered Electrical Contractor (REC) upon completion of works. A copy of the CES must be provided to ESV, United Energy and the end customer and any other applicable stakeholders.
Electrical Work Request (If Required) | Confirmed Attached to Email
The Electrical Work Request (EWR) is a request form required for bi-directional metering upgrade. Until such time as the customer’s metering is upgraded, any exporting generation system may not be metered to properly compensate the end customer. The EWR form is to be provided to United Energy and the end customer.
Overall System Installation | Installer Initials
We, the installer, hereby confirm that the system has been installed in strict accordance with the Generation Agreement and all drawings and other documentation submitted to United Energy.
End Customer Notification | Installer Initials
An embedded generator customer is subject to an elevated level of responsibility (being the asset owner of an energy source which connects to and interacts with the network). The installer of the generation system is obligated to provide the end customer with all equipment operating manual/s and appropriate training such as to impart adequate knowledge of the generation system for day to day operation and any abnormal or emergency response action. The installer/proponent is required to demonstrate such action being undertaken and complete by providing UE with acknowledgement of the end customers receipt notification. We, the installer, have issued all operating manual/s to the end customer and provided appropriate training with regard to the safe operation of the generation system.
Secondary Injection Tests | Confirmed Attached to Email
Secondary injection testing is required on each independent protection relay/s installed as part of the system. Please attach a copy of the actual test results so as to demonstrate that the performance of the independent protection relay/s is as agreed with United Energy. In addition to the protection functions mentioned under "Central Protection Device" in the "Site Details" worksheet, additional test results required are: - Overcurrent protection test results - Earth fault protection test results - Synch check test results
Export Limit Test (where applicable) | Confirmed Attached to Email
If export limit is required as part of the embedded generation agreement, please provide evidence that the export limit is functioning as expected.
Other Commissioning Results (where applicable) | Confirmed Attached to Email
Please provide results from any other commissioning tests that were requested as part of the technical review.